VitroView™  Immunofluorescence Triple Staining Kit, FL488 Anti-Mouse (Green),  FL594 Anti-Rabbit (Red)& FL647 Anti-Rat (far Red) (For 50-100 slides)

SKU#:  VB-6300

Description:

Triple immunofluorescence (IF) procedure is needed in order to be able to examine the co-distribution of three different antigens in the same sample. Here we provide reliable convenient VitroView™  Immunofluorescence Triple Staining Kit which can be carried out with 3 primary antibodies raised in the species of mouse, rabbit and rat.

The advantages of this technology include: 1) High sensitivity; 2) Low background; 3) Reduction of steps and time; 4) Simplified multiple labeling.

Specifications

| Unit Size | 1 kit |
| --- | --- |
| Target Species | Mouse, Rabbit and Rat |
| Conjugates and Color of Fluorescence | FL488 Conjugated Goat anti Mouse IgG (Green) FL594 Conjugated Goat anti Rabbit IgG (Red) FL647 Conjugated Goat anti Rat IgG (Far Red) |
| Excitation/Emission for FL488 dye | 496/519 nm |
| Excitation/Emission for FL594 dye | 590/617 nm |
| Excitation/Emission for FL647 dye | 647/664 nm |
| Host Species | Goat |
| Application | Triple IF staining for simultaneous detection of primary antibodies raised in mouse, rabbit and rat |

Kit Contents:

# RTU Normal Goat Serum ----------------------------------------------10ml

# FL488 Conjugated Goat anti Mouse (1mg/ml)-----------------------50µl

# FL594 Conjugated Goat anti Rabbit (1mg/ml)-----------------------50µl

# FL647 Conjugated Goat anti Rat (1mg/ml) --------------------------50µl

# Aqueous Anti-fade Mounting Medium with Dapi------------------- 1.5 ml×2

Storage

Store at 2-8 °C.

Reagents and Material Required but Not Provided

# (  Xylene and ethanol for FFPE samples

# (  Distilled or deionized water

# (  10 mM phosphate-buffered saline (PBS), pH 7.4

# (  Triton X-100

# (  Mini PAP Pen

# (  Primary antibody

# (  Antibody Dilution Buffer (SKU#: VB-6002)

# (  BSA

Protocol

1. Preparation of Slides

A. Cell Lines

- Grow cultured cells on sterile glass cover slips or slides overnight at 37°C.

- Briefly wash with PBS.

- Choose one of the following fixation methods (To achieve optimal results, it may be necessary to optimize the fixation methods).

- Fix in 10% formalin in PBS for 20 minutes (keep wet).

- Immerse in ice-cold methanol for 10 minutes and allow to air dry.

- Immerse in ice-cold acetone for 10 minutes and allow to air dry.

- Wash slides in PBS.

B. Frozen Sections

- Snap-freeze fresh tissues in liquid nitrogen or isopentane pre-cooled in liquid nitrogen, then embed them in OCT compound in cryomolds. Store the frozen tissue block at -80°C until ready for sectioning.

- Before sectioning, equilibrate the frozen tissue block to the temperature of the cryotome cryostat (e.g., -20°C).

- Section the frozen tissue block into the desired thickness (typically 5-10 µm) using the cryotome.

- Place the tissue sections onto glass slides suitable for immunohistochemistry (e.g., Superfrost).

- Store sections in a sealed slide box at -80°C for later use.

- Before staining, allow slides to warm to room temperature for 30 minutes and then fix in ice-cold acetone or ice-cold methanol for 10 minutes. Air dry for 30 minutes.

- Wash in PBS.

C. Paraffin Sections

- Deparaffinize sections in xylene, 3×5 minutes.

- Hydrate with 100% ethanol, 2×2 minutes.

- Hydrate with 95% ethanol, 2×2 minutes.

- Rinse in distilled water.

- Follow the required pretreatment procedure.

2. Antigen Retrieval

- Most formalin-fixed tissues require antigen retrieval before proceeding with immunohistochemical staining. Common methods include heat-mediated and enzymatic antigen retrievals.

- Choose the appropriate method:

- For Citrate: Bring slides to a boil in 10 mM sodium citrate buffer, pH 6.0, and maintain at a sub-boiling temperature for 10 minutes. Cool slides on the benchtop for 30 minutes.

- For EDTA: Bring slides to a boil in 1 mM EDTA, pH 8.0, and follow with 15 minutes at a sub-boiling temperature. No cooling is necessary.

- For TE: Bring slides to a boil in 10 mM TE/1 mM EDTA, pH 9.0, and then maintain at a sub-boiling temperature for 18 minutes. Cool at room temperature for 30 minutes.

- For Pepsin: Digest for 10 minutes at 37°C.

Note: Do not use this pretreatment with frozen sections or cultured cells that are not paraffin-embedded.

3. Staining Procedure

- Rinse sections in PBS-Triton X-100 (0.025%) for two 2-minute cycles.

- Serum Blocking: Incubate sections with 2-4 drops of ready-to-use (RTU) normal Goat serum for 30 minutes to block non-specific immunoglobulin binding.

- Primary Antibody: Incubate sections with a mixture of three primary antibodies (mouse, rabbit and Rat) at the appropriate dilution in antibody dilution buffer (SKU# #: VB-6002) for 1-2 hours at room temperature or overnight at 4°C. Rinse in PBS.

- Detection: Incubate sections with a mixture (70-150 µl) of three secondary antibodies raised in different species (with three fluorochromes including FL488 conjugated anti-mouse / FL594 conjugated anti-rabbit /FL647 conjugated anti Rat secondary antibodies) at appropriate dilutions (1/100-1/500) in 0.1% BSA in PBS for 1 hour at room temperature in the dark.

- Rinse in PBS for three 2-minute cycles.

- Counterstaining and mount cover slip with 20-30µl of aqueous anti-fade mounting medium with DAPI. Seal cover slip with nail polish to prevent drying and movement.

- Visualize and capture the signal using a fluorescence microscope equipped with excitation wavelength filters of 488 nm, 594 nm and 647nm.

- Store slides in the dark at 4°C.

Note: This product is intended for research purposes only. This product is not intended to be used for therapeutic or diagnostic purposes in humans or animals.

Precautions: Handle with care. Avoid contact with eyes, skin and clothing. Do not ingest. Wear gloves.